## SAFETY PRECAUTIONS

## Fatal Accident

Precautions whose omission could result in death.

- (1) Don’t be engaged in any work activity unless you have the technical knowledge and experience to carry it out.

- (2) Be extremely careful with a metal ladder near overhead cables.

- (3) Do not work around electrical equipment if floors are wet.

- (4) Do not work on an electrical circuit with the power turned on.

- (6) Electrical fire: know where extinguishers are and don’t fight a dangerous fire.

- (12) Wear rubber-soled shoes or stand on a rubber mat for unavoidable live work.

- (13) Be careful not to contact any live wire or terminal.

## Injury

Precautions whose omission could lead to minor or moderate bodily harm.

- (5) Use eye protection, ear protectors, gloves, dust masks, etc.

- (7) Lift objects carefully; get help with heavy loads.

- (8) Do not use tools in bad condition (especially with worn insulation).

- (10) Read manufacturer’s instructions before using a power tool.

- (12) (Also fits here but listed under Fatal Accident as most severe risk.)

## Damage

Precautions that may result mainly in equipment/material damage if ignored.

- (9) Never remove a plug by pulling on the cord.

- (10) Check power tool cord insulation. (Also prevents injury.)

- (11) Ensure polarity is correct when terminating flexible cables.

## Complete Classification Table

| Precaution No. | Fatal Accident | Injury | Damage |
| --- | --- | --- | --- |
| 1 Technical knowledge required | ✔ | ✔ | ✔ |
| 2 Metal ladder near overhead cables | ✔ | ✔ |  |
| 3 Don’t work with electricity on wet floors | ✔ | ✔ |  |
| 4 Never work on a live circuit | ✔ | ✔ |  |
| 5 Use PPE (eye/ear protection, gloves, etc.) |  | ✔ |  |
| 6 Fire extinguishers & electrical fire safety | ✔ | ✔ |  |
| 7 Lift heavy objects safely |  | ✔ |  |
| 8 Use tools correctly & in good condition | ✔ | ✔ | ✔ |
| 9 Don’t pull a plug by the cord |  |  | ✔ |
| 10 Read instructions & check insulation | ✔ | ✔ | ✔ |
| 11 Correct polarity of cable connections |  |  | ✔ |
| 12 Rubber shoes/mat for unavoidable live work | ✔ | ✔ |  |
| 13 Avoid contacting live wires or terminals | ✔ | ✔ |  |

## Summary

- Fatal Accident: 1, 2, 3, 4, 6, 8, 10, 12, 13

- Injury: 1, 2, 3, 4, 5, 6, 7, 8, 10, 12, 13

- Damage: 1, 8, 9, 10, 11

# SAFETY PRECAUTIONS TEST

### A. Classification (15 points)

Read each safety precaution below and classify it according to what its omission may result in:

- F = Fatal accident

- I = Injury

- D = Damage

Write the correct letter(s) on the line provided.
(Some items may have more than one correct answer.)

- ____ Don’t be engaged in any work activity unless you have the technical knowledge and experience to carry it out.

- ____ Be extremely careful when handling a metal ladder near overhead cables.

- ____ Do not work around electrical equipment if floors are damp or wet.

- ____ Do not work on an electrical circuit with the power turned on.

- ____ Use eye protection, ear protectors, gloves, dust masks, etc.

- ____ Know where fire extinguishers are and avoid fighting dangerous fires.

- ____ Lift objects carefully; get help with heavy loads.

- ____ Use tools correctly and do not use them if they are in poor condition.

- ____ Never remove a plug from an outlet by pulling on the cord.

- ____ Read instructions before using a power tool and check cord insulation.

- ____ Ensure polarity is correct when terminating flexible cables.

- ____ Wear rubber-soled shoes or stand on a rubber mat during unavoidable live work.

- ____ Be particularly careful not to contact any live wire or terminal.

### B. Short Answer (5 points)

Answer the following in one or two sentences.

- Why is it important to check that a circuit is dead before working on it?

- When should personal protective equipment (PPE) be used and why?

- What should you do if an electrical fire threatens your escape route?

- Why is lifting technique important in a workshop or construction site?

- Why must tools with worn insulation never be used?

### C. True or False (5 points)

Write T for true or F for false.

- ___ It is safe to work around electrical equipment as long as only your shoes are wet.

- ___ Incorrect cable polarity can damage equipment.

- ___ You should always pull a plug out of an outlet by the cord.

- ___ Wearing PPE can help prevent injuries.

- ___ Live electrical work is always completely safe as long as you work quickly.