# 10-Minute ESP Test – Transformers

Name: ________________________

## A. Fill in the Blanks (Use the correct word) – 12 pts

Choose from the list below. Each word is used once only.

step-down – core - AC – primary – turns – induction – step-up –voltage – laminations – magnetic – losses - secondary

- Transformers work only with __________ current.

- The coil connected to the supply is the __________ winding.

- The coil connected to the load is the __________ winding.

- The central part of a transformer is the __________.

- The core is made of thin steel __________ to reduce eddy current __________.

- Transformer action is based on electromagnetic __________.

- A __________ transformer increases voltage.

- A __________ transformer decreases voltage.

- The output __________ depends on the ratio of the number of __________ on each winding.

- Transformers transfer electrical energy by __________ coupling.

## B. True / False – 8 pts

Write T for True or F for False.

___ 1. A transformer can work with DC current.
___ 2. A step-up transformer has more turns on the secondary than on the primary.
___ 3. A transformer changes voltage but not frequency.
___ 4. The core is used to strengthen the magnetic field.
___ 5. Transformers have moving mechanical parts.
___ 6. A step-down transformer reduces voltage.
___ 7. Transformers are used in power transmission to reduce losses.
___ 8. The primary and secondary windings are electrically connected.

# Total: 20 points